Measurement Lab MECH 261/262

Syllabus Winter 2010   10-03-12(11H58) Always look at this date/time tag for amendments during the semester.

MECH 261 Measurement Lab (2 credits), for students in Civil Engineering and Applied Mechanics

Basic experimental laboratory measurements, such as measurement of temperature.  (Lectures MW Only) Calibration, elementary electrical

and analogue and digital electronic principles. Instruments for pressure

force, torque, time interval, velocity, acceleration, strain, position, flow and temperature.

MECH 262 Statistics and Measurement (3 credits), for students in Mechanical Engineering

See above, and for that extra credit …

Elementary statistics (Lectures F Only) Introduction to probability: conditional probability, binomial, Poisson, normal, Student “T” and Chi-squared distributions,  random variables, law of large numbers, Bayes theorem, Fourier synthesis, least squares fitting of lines and circles Statistical analysis associated with measurements; regression and correlation.

| Instructor | Paul Zsombor-Murray, ENGMD454, paulATcim.mcgill.ca |
| --- | --- |
| Office Hours | MWF 15H-16H00 |
| Classes | MW(F=262) 09:35-10H25, MDHAR G10 for all classes |
| Lab Staff | Georges Tewfik, Mario Iacobaccio, Measurement Lab: ENGMD159 |
| TAs | Adime.BonsiATmail.mcgill.ca, Amir.Borna AT … , Bryan.FishbeinAT … , ahmad.JamalAT … , Hariyanto.DarmawanAT … , Ehsan.MasoumiKhalilAbadAT … , Ali.MosahebiMohamadiAT … , |
| Prerequisites | None |
| Required Text | (261&262):- Wheeler, A.J. & Ganji, A. “Intro. to Experimental Engineering”, 3rd (2010) or 2nd (2004) ed. (W+G) Class Note “Handouts” on my website:- http://www.cim.mcgill.ca/~paul/ Get in Meas. Lab: ENGMD 154/159 : Sign up in groups of two (2), after 09H00, Monday, 10-01-11, until 16H00, Friday, 10-01-15. Don’t be late. Schedule your first 2 hour lab slot in the period 10-01-19 until -22. Schedule each subsequent lab when you do the current one or at least no later than Friday of that week. You cannot schedule your lab during the week you intend to do it! There are nine (9) labs. Pick up Lab Manual (costing about $2.80) from “Copi-EUS” in ENGMC G7. You must have your lab-acquired data sheets initialled by the TA to ensure that you have actually performed the experiments. |

| Schedule: |
| --- |
| 10-01-4,6,8 | Introductory lecture Basic Electronics Review: Voltage/Current/Resistance; Lecture 1 Units Conversion Measurement systems. (W+G)Chs. 1&2 Lecture 2 Lecture 2a Lecture 2b Lecture 2c | Topics, Sample space, Event algebra, Probability experiments Statistics Lecture 1a Statistics Lecture 1b |
| 10-01-11,13,15 | Number systems and arithmetic Lecture 3 (W+G)Ch. 4, pp.75-77 Data Acquisition. | Discrete Random Variables Conditional Probability Bayes' Theorem Statistics Lecture 2 |
| 10-01-18,20,22 | Gray code, Analog to Digital Convertors, Op Amps, (W+G) Chs. 3&4. Lecture 3a Oscilloscope(W+G)pp.59-61 LAB I Oscilloscope (note:- Labs start on Tues., (10-01-19 ... -22) No labs on Mondays. Labs must be handed in on the Tues., Wed., Thurs., Fri. or Mon. after they were performed. They will be returned before you conduct the next one. | Averages, Expected values Statistics Lecture 3 |
| 10-01-25,27, 29 | Strain gages, Bridge Circuits Lecture 4 Lecture 4a Stress and strain LAB II (10-01-26 …-29) Introduction to LabVIEW | Covariance and Correlation Statistics Lecture 4 |
| 10-02-1,3,5 | Force/Torque Lecture 5 Transducer sensitivity LAB III (10-02-02 … -05) Data sampling | Bernoulli and Related Variables Binomial distribution Statistics Lecture 5 |
| 10-02-8, 10,12 | Force/Torque, Pressure Lecture 6 Lecture 6a Sensitivity and linearity LAB IV (10-02-09 … -12) Time constant | Poisson Distribution Statistics Lecture 6 |
| 10-02-15, 17,19 | LAB V (10-02-16 … -19) Stress and strain | Law of Large Numbers (Contained in Lecture 3) |
| Study Break 10-02-22 until 10-02-26 |  |
| Midterm Exam: 10-03-1,3,5 |  |
| 10-03-8,10,12 | LAB VI (10-03-02 … -05) Transducer sensitivity (part 1) Pressure Motion Lecture 7 Lecture 7a Pressure transducer and flow velocity profile LAB VII (10-03-09 … -12) Transducer sensitivity (part 2) and linearity | Continuous Random Variables Law of Large Numbers (Contained in Lecture 3) Statistics Lecture 7 |
| 10-03-15,17,19 | Motion Ultrasound Optical Proximity Sensor Lecture 8 LAB VIII (10-03-16 … -19) Pressure transducer calibration and jet profile | Goodness-of-fit Test (Refer back to Lectures 4 & 6) Statistics Lecture 8 |
| 10-03-22,24,26 | LAB IX (10-03-23 … -04-26) Thermocouple calibration and manufacture Motion Lecture 9 | Regression (Review Lecture 4) Statistics Lecture 9 |
| 10-03-29,31 | Optical Incremental Encoder Lecture 10 | Student “t” and Chi-square distributions Statistics Lecture 10 |
| 10-04-7,9 | Temperature Lecture 11 | Families of continuous distributions (Refer back to Lecture 8) Statistics Lecture 11 |
| 10-04-12,14 | Link to 07, 06, 05, 04 Finals and Midterms (incl. 08) |  |

Final Exam date:

| MECH 261 | MEASUREMENT LAB | 10-04-29 | 09H00-11H00 |
| --- | --- | --- | --- |
| Given with MECH 262B |  |  |
| MECH 262 | STATISTICS & MEASUREMENT LAB | 10-04-29 | 09H00-12H00 |
| Given with MECH 261B |  |  |

Please also check for any changes here:

http://www.mcgill.ca/engineering-student/schedules/finalschedule/department/

Please review the exam policies:

http://www.mcgill.ca/engineering-student/policies/exam/

Please note that I am not permitted to grant any special treatment regarding examinations to any student. Students who believe there are circumstances that might justify making special examination arrangements for them or which might legitimately be taken into account in evaluating their performance, must apply to the Student Affairs Office directly.

References:

| Measurement Systems, Application and Design, 5th ed. | E.O. Doebelin, 2004 |
| --- | --- |

| Theory and Design for Mechanical Measurements | Figliola and Beasley, 1995 |
| --- | --- |
| Schaum’s Outline on Probability & Statistics | M.L. Spiegel et al, 1998 |
| Mechanical Measurements | Beckwith and Marangoni, 1990 |
| Principles of Measurement Systems | J. P. Bentley, 1995 |
| Instrumentation for Engineering Measurements | Dally, Riley & McConnell, 1993 |

Grading:

Lab Reports         40%

Midterm               20%        Open Book

Final                     40%        Open Book

Weekly(?) probs. Bonus     (may jack your grade or save a marginal failure!)

A minimum of 50% mark must be obtained each in the Lab Reports and the Final to pass this course.