305-261/262 Measurement Laboratory

# Experiment 1

# Instrumentation Overview

## Notes for the student

During this experiment you will be measuring a DC voltage and different A.C. voltages using an oscilloscope and a DMM (Digital Multi-Meter).

While a DC voltage is only defined by its amplitude, the interesting parameters of an A.C. voltage are:

- voltage amplitude VMAX.

- peak-to-peak value Vpp

- root-mean square value Vrms

- period T

- frequency f = 1/T.

- waveform (sinusoidal, triangular, square, etc…).

An electric signal (voltage), that follows a sinusoidal law, can be mathematically described as:

v = Vm sin 2πf t     ………(1)

v        =  instantaneous value of the signal.

VMAX =  maximum amplitude of the signal.

2πf     = angular frequency of the signal (ω).

t         =  time.

T        =  period of the signal (1/f).

The root-mean square value Vrms is obtained by calculating the mean of the square of the instantaneous voltages during one period then taking the square root of the result:

…………...(2)

Combining equation (1) and (2) leads to the rms value of a sinusoidal signal:

……………(3)

### Introduction

In this experiment, the electric voltage from a function generator is simultaneously measured using an oscilloscope and a DMM. Also a DC voltage from a battery will be measured with these two instruments. The oscilloscope presents the advantage of the graphical representation of the signal under investigation because the voltage (signal) is plotted on the screen of the instrument as a function of time.

A grid divides the screen into “divisions” and it is possible to change the vertical scale using the Volt/Division knob, while the horizontal scale can be changed using the Time/Division knob.

Since the oscilloscope allows the visualization of the waveform, it can be used to measure the amplitude voltage VMAX, the peak-to-peak value Vpp, and the period T of the signal. The root-mean square Vrms, and the frequency of the signal can be calculated.

Note that the DMM, when used to measure AC voltages, gives the rms value Vrms.

Equipment provided

One 1.5 Volts battery.

One function generator.

One dual-trace oscilloscope.

One digital multi-meter (DMM).

Connecting BNC cables.

One BNC “T” (to split the signal).

Procedure

1.  Connect the output of the function generator to the oscilloscope and simultaneously to

the DMM in order to measure the same signal with the two instruments.

2.  Turn on the oscilloscope. The input signal must be connected with the coupling switch

in AC position.

3.  Turn on the DMM and select the AC voltage measurement. Take note of the voltage

measurement simultaneously with the oscilloscope.

4.   The signals to be set on the function generator are:

Sinewave 1000 Hz.

Squarewave 20000 Hz.

Sinewave 1 Hz.

Sinewave 2 MHz (2000000 Hz).

5.  Verify the period and the amplitude of the signal coming from the function generator. The function generator has a frequency counter on the front panel. Verify this frequency matches the one obtained with the oscilloscope.

6.  Adjust the Volt/Division and the Time/Division so that one waveform is well

displayed on the screen.

7.  Switch the input coupling to GND. You will get a line.

8.  Using the X, Y position knobs make sure the line is centered on the screen.

9.  Switch the coupling back to AC.

10. Measure the Period of the signal.

11. Measure the amplitude and the peak-to-peak value of the signal. See question 2

12. Calculate the rms value of the signal.

13. Switch the input coupling to DC and measure the peak-to peak value. See question 2

14. Repeat the procedure for each of the signals of instruction 4.

15. Disconnect the function generator and replace it with the battery.

16. Set the DMM to measure DC voltage.

17. Observe the screen of the oscilloscope when the “input coupling” switch is in AC

position and in DC position. See question 3

18. Fill in the included Data sheet and answer all questions on a separate sheet.

Provide all the calculations.

19. Staple the provided datasheet with your answer sheet and slip it in the mail-box

outside the Meas. Lab by 9.30a.m. of the next day after performing the experiment.

N.B.

In the “M” columns of the data-sheet write “D” if the measurement was direct, write “C” if the value is calculated, and write “NOT” if the parameter cannot be obtained with that measurement instrument.

Questions:

- Explain the use of the Volt/Division and the Time/Division knobs.

- Write your observations related to steps 11 and 13. Explain.

- Write your observations related to steps 17. Explain.

- The nominal value of the voltage measured from a common household outlet is 117 Vac. This is the rms value. Calculate the maximum amplitude VMAX and the peak-to-peak value Vpp.

# Text boxes

v

time

VMAXAX

T

Vpp